## Rebate-System
| 2019 MA Rebate Sheet - Mitsubishi Electric | [12 empty] | Mass Save Residential |  |  | MassCEC (ends 3/20/2019) | MA DOER
[14 empty] | No Integrated Controls |  | Integrated Controls
Single Zone Systems
Rank | Type | AHRI # | ccASHP | CEC List | Outdoor Model | Indoor Model | EER | SEER | HSPF | Cooling Capacity | High Heat (47F) | Low Heat (17F) | COP @ 5°F | Any fuel | Electric | Oil/Propane | Standard | APS Eligible ($1,500 - $5000)
A1 | Non-Ducted | 201754416 | Yes | Yes | MUFZ-KJ09NAHZ | MFZ-KJ09NA | 15.8 | 28.2 | 13 | 9000 | 11000 | 7500 | 2.01 | 112.5 | 750 | 1200 | 500 | Yes
A1 | Non-Ducted | 201754291 | Yes | Yes | MUFZ-KJ12NAHZ | MFZ-KJ12NA | 13.6 | 25.5 | 12 | 12000 | 13000 | 8800 | 2.1 | 150 | 1000 | 1600 | 500 | Yes
A1 | Non-Ducted | 201754292 | Yes | No | MUFZ-KJ15NAHZ | MFZ-KJ15NA | 13.5 | 21.8 | 11.6 | 15000 | 18000 | 12000 | 1.86 | 187.5 | 1250 | 2000 | 0 | No
A1 | Non-Ducted | 201754293 | Yes | Yes | MUFZ-KJ18NAHZ | MFZ-KJ18NA | 12.6 | 21 | 11.3 | 17000 | 21000 | 12800 | 2.05 | 212.5 | 1416.6667 | 2266.6667 | 500 | Yes
A1 | Non-Ducted | 201754426 | Yes | Yes | MUZ-FH06NA | MSZ-FH06NA** | 19 | 33.1 | 13.5 | 6000 | 8700 | 5900 | 2.8 | 75 | 500 | 800 | 500 | Yes
A1 | Non-Ducted | 201754427 | Yes | Yes | MUZ-FH06NAH | MSZ-FH06NA** | 19 | 33.1 | 12.5 | 6000 | 8700 | 5900 | 2.45 | 75 | 500 | 800 | 500 | Yes
A1 | Non-Ducted | 201754296 | Yes | Yes | MUZ-FH09NA | MSZ-FH09NA | 16.1 | 30.5 | 13.5 | 9000 | 10900 | 6700 | 2.32 | 112.5 | 750 | 1200 | 500 | Yes
A1 | Non-Ducted | 201754297 | Yes | Yes | MUZ-FH09NAH | MSZ-FH09NA** | 16.1 | 30.5 | 12.5 | 9000 | 10900 | 6700 | 2.73 | 112.5 | 750 | 1200 | 500 | Yes
A1 | Non-Ducted | 201754298 | Yes | Yes | MUZ-FH12NA | MSZ-FH12NA | 13.8 | 26.1 | 12.5 | 12000 | 13600 | 8100 | 2.21 | 150 | 1000 | 1600 | 500 | Yes
A1 | Non-Ducted | 201754299 | Yes | Yes | MUZ-FH12NAH | MSZ-FH12NA** | 13.8 | 26.1 | 11.5 | 12000 | 13600 | 8100 | 2.07 | 150 | 1000 | 1600 | 500 | Yes
A1 | Non-Ducted | 201754300 | Yes | Yes | MUZ-FH15NA | MSZ-FH15NA | 12.5 | 22 | 12 | 15000 | 18000 | 11000 | 1.79 | 187.5 | 1250 | 2000 | 500 | No
A1 | Non-Ducted | 201754301 | Yes | Yes | MUZ-FH15NAH | MSZ-FH15NA** | 12.5 | 22 | 11 | 15000 | 18000 | 11000 | 1.8 | 187.5 | 1250 | 2000 | 500 | No
A1 | Non-Ducted | 201754302 | Yes | Yes | MUZ-FH18NA2 | MSZ-FH18NA** | 12.5 | 21 | 12 | 17200 | 20200 | 13700 | 2.01 | 215 | 1433.3333 | 2293.3333 | 500 | Yes
A1 | Non-Ducted | 201754303 | Yes | Yes | MUZ-FH18NAH2 | MSZ-FH18NA** | 12.5 | 21 | 11 | 17200 | 20200 | 13700 | 2.06 | 215 | 1433.3333 | 2293.3333 | 500 | Yes
A1 | Non-Ducted | 201754648 | Yes | No | MUZ-GL09NA-U1 | MSZ-GL09NA-U1 | 15.4 | 24.6 | 12.8 | 9000 | 10900 | 6700 | 2.76 | 112.5 | 750 | 1200 | 0 | Yes
A1 | Non-Ducted | 201754311 | Yes | No | MUZ-GL12NA-U1 | MSZ-GL12NA-U1 | 13 | 23.1 | 12.5 | 12000 | 14400 | 9200 | 2.93 | 150 | 1000 | 1600 | 0 | Yes
A1 | Non-Ducted | 201754313 | Yes | No | MUZ-GL15NA-U1 | MSZ-GL15NA-U1 | 13 | 21.6 | 11.7 | 14000 | 18000 | 12100 | 2.63 | 175 | 1166.6667 | 1866.6667 | 0 | No
A1 | Non-Ducted | 201754315 | Yes | No | MUZ-GL18NA-U1 | MSZ-GL18NA-U1 | 13.4 | 20.5 | 11.2 | 18000 | 21600 | 13800 | 2.35 | 225 | 1500 | 2400 | 0 | Yes
A1 | Non-Ducted | 201754316 | Yes | No | MUZ-GL24NA-U1 | MSZ-GL24NA-U1 | 12.5 | 20.5 | 10 | 22400 | 27600 | 16000 | 1.98 | 280 | 1866.6667 | 2986.6667 | 0 | Yes
Multi-Zone
| Type | AHRI # | ccASHP | CEC List | Outdoor Model | Indoor Model | EER | SEER | HSPF | Cooling Capacity | High Heat (47F) | Low Heat (17F) | COP @ 5°F | Any fuel | Electric | Oil/Propane | Standard | APS Eligible ($1,500 - $5000)
B | Non-Ducted | 201754642 | Yes | No | MXZ-2C20NA2 | Non-Ducted | 12.7 | 20 | 10 | 18000 | 22000 | 13500 | 2.03 | 225 | 1500 | 2400 | 0 | Yes
B | Non-Ducted | 201754904 | Yes | Yes | MXZ-3C24NAHZ2 | Non-Ducted | 13.5 | 19 | 10 | 22000 | 25000 | 14000 | 1.92 | 275 | 1833.3333 | 2933.3333 | 1041.6667 | Yes
B | Non-Ducted | 201754908 | Yes | Yes | MXZ-3C30NAHZ2 | Non-Ducted | 12.5 | 18 | 11 | 28400 | 28600 | 18000 | 1.75 | 355 | 2366.6667 | 3786.6667 | 1191.6667 | No
B | Non-Ducted | 201754911 | Yes | Yes | MXZ-4C36NAHZ | Non-Ducted | 14 | 19.1 | 11.3 | 36000 | 45000 | 34000 | 2.41 | 450 | 3000 | 4800 | 1875 | Yes
B | Non-Ducted | 201754926 | Yes | Yes | MXZ-5C42NAHZ | Non-Ducted | 13.4 | 19 | 11 | 42000 | 48000 | 35800 | 2.51 | 525 | 3500 | 5600 | 2000 | Yes
B | Non-Ducted | 201754637 | Yes | No | MXZ-8C60NA-U* | Non-Ducted | 12.5 | 17.4 | 10.5 | 60000 | 65000 | 41500 | 2.06 | 750 | 5000 | 8000 | 0 | Yes

## Rebate Requirements
FUEL TYPE | EQUIPMENT TYPE | DELIVERY METHOD | REQUIREMENT | REBATE AMOUNT
Existing fuel type | Air Source Air Conditioning | Ducted | SEER ≥ 16, EER ≥ 13 | $50 per ton
Existing fuel type | Air Source Heat Pump | Ducted or Mixed Ducted | SEER ≥ 15, HSPF ≥ 9 | $350per ton
Displacing Oil or Propane | Air Source Heat Pump | Ducted or Mixed Ducted | SEER ≥ 15, HSPF ≥ 9; must have Integrated Controls | $1,000 per ton
Existing fuel type | Air Source Heat Pump | Non-Ducted | NEEP Cold Climate Air-Source Heat Pump Product List: | $150 per ton
SEER ≥ 15, HSPF ≥ 10, COP 1.75 at 5 degrees
Displacing Electric Heat | Air Source Heat Pump | Non-Ducted | NEEP Cold Climate Air-Source Heat Pump Product List: | $1,000 per ton
SEER ≥ 15, HSPF ≥ 10, COP 1.75 at 5 degrees; 900 kWh/month difference between 3 winder and 3 lowest-usage months
Displacing Oil or Propane | Air Source Heat Pump | Non-Ducted | NEEP Cold Climate Air-Source Heat Pump Product List: | $1,600 per ton
SEER ≥ 15, HSPF ≥ 10, COP 1.75 at 5 degrees; must have Integrated Controls
Integrated Controls, Displacing Oil or Propane | Air Source Heat Pump | Non-Ducted | Added to existing air-source heat pump equipment. Refer to qualified products list. | $500 per zone, up to $1,500
What is Integrated Controls with a Heat Pump? | Automatic changeover from heat pump to a back-up source of heat. The heat pump acts as primary source of heat down to a certain outdoor temperature. Then, at that temperature, the back-up source of heat automatically energizes, until the temperature rises above that point.
Integrated Controls
Option 1: Kumo Cloud/Kumo Station |  |  | List Price
Kumo Station - PAC-WH201HC-E |  |  | 663
Wireless Interface for Kumo Cloud - PAC-USWHS002-WF-1 |  |  | 185
Need one per indoor unit, plus one for Kumo Station
Outside temperature and humidity sensor for kumo station - C7089U1006/U |  |  | 40
IT Extender - PAC-WHS01IE-E |  |  | 206
Option 2: Thermostat Interface with any brand 2-stage thermostat |  |  | List Price
Thermostat Interface - PAC-US444CN-1 |  |  | 190
Need one per indoor unit.
Transformer for Thermostat Interface - VPL24-210 |  |  | 20
Need one per indoor unit.
2 Stage Thermostat |  |  | ?
Need one per indoor unit.

## Rebate-Ton (hidden)
[12 empty] | Mass Save Residential |  |  | MassCEC (ends 3/20/2019) |  |  | MA DOER | Mass Save Commercial
[12 empty] | No Integrated Controls |  | Integrated Controls
Type | AHRI # | ccASHP | CEC List | Outdoor Model | Indoor Model | EER | SEER | HSPF | Cooling Capacity | High Heat (47F) | Low Heat (17F) | Any fuel | Electric | Oil/Propane | Standard | >120% median income | >80% median income | APS Eligible ($1,600 - $5,000) | Midstream
Non-Ducted | 201754416 | Yes | Yes | MUFZ-KJ09NAHZ | MFZ-KJ09NA | 15.8 | 28.2 | 13 | 9000 | 11000 | 7500 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754291 | Yes | Yes | MUFZ-KJ12NAHZ | MFZ-KJ12NA | 13.6 | 25.5 | 12 | 12000 | 13000 | 8800 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754292 | Yes | No | MUFZ-KJ15NAHZ | MFZ-KJ15NA | 13.5 | 21.8 | 11.6 | 15000 | 18000 | 12000 | 150 | 1000 | 1600 |  |  |  | No | 75
Non-Ducted | 201754293 | Yes | Yes | MUFZ-KJ18NAHZ | MFZ-KJ18NA | 12.6 | 21 | 11.3 | 17000 | 21000 | 12800 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 75
Non-Ducted | 201754418 | No | No | MUZ-D30NA | MSZ-D30NA | 8 | 14.5 | 8.2 | 30600 | 32600 | 20800 | [6 empty] | No
Non-Ducted | 201754421 | No | No | MUZ-D36NA | MSZ-D36NA | 7.6 | 14.5 | 8.2 | 33200 | 35200 | 22800 | [6 empty] | No
Non-Ducted | 201754426 | Yes | Yes | MUZ-FH06NA | MSZ-FH06NA** | 19 | 33.1 | 13.5 | 6000 | 8700 | 5900 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754427 | Yes | Yes | MUZ-FH06NAH | MSZ-FH06NA** | 19 | 33.1 | 12.5 | 6000 | 8700 | 5900 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754296 | Yes | Yes | MUZ-FH09NA | MSZ-FH09NA | 16.1 | 30.5 | 13.5 | 9000 | 10900 | 6700 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754297 | Yes | Yes | MUZ-FH09NAH | MSZ-FH09NA** | 16.1 | 30.5 | 12.5 | 9000 | 10900 | 6700 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754298 | Yes | Yes | MUZ-FH12NA | MSZ-FH12NA | 13.8 | 26.1 | 12.5 | 12000 | 13600 | 8100 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754299 | Yes | Yes | MUZ-FH12NAH | MSZ-FH12NA** | 13.8 | 26.1 | 11.5 | 12000 | 13600 | 8100 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 150
Non-Ducted | 201754300 | Yes | Yes | MUZ-FH15NA | MSZ-FH15NA | 12.5 | 22 | 12 | 15000 | 18000 | 11000 | 150 | 1000 | 1600 | 500 | 750 | 1000 | No | 75
Non-Ducted | 201754301 | Yes | Yes | MUZ-FH15NAH | MSZ-FH15NA** | 12.5 | 22 | 11 | 15000 | 18000 | 11000 | 150 | 1000 | 1600 | 500 | 750 | 1000 | No | 75
Non-Ducted | 201754302 | Yes | Yes | MUZ-FH18NA2 | MSZ-FH18NA** | 12.5 | 21 | 12 | 17200 | 20200 | 13700 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 75
Non-Ducted | 201754303 | Yes | Yes | MUZ-FH18NAH2 | MSZ-FH18NA** | 12.5 | 21 | 11 | 17200 | 20200 | 13700 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes | 75
Non-Ducted | 201849577 | No | No | MUZ-GL09NAH-U1 | MSZ-GL09NA-U1 | 15.4 | 24.6 | 11.8 | 9000 | 10900 | 6700 | [6 empty] | No
Non-Ducted | 201836070 | No | No | MUZ-GL09NAH-U8 | MSZ-GL09NA-U1 | 15.4 | 24.6 | 12.8 | 9000 | 10900 | 7000 | [6 empty] | No
Non-Ducted | 201754648 | Yes | No | MUZ-GL09NA-U1 | MSZ-GL09NA-U1 | 15.4 | 24.6 | 12.8 | 9000 | 10900 | 6700 | 150 | 1000 | 1600 |  |  |  | Yes | 150
Non-Ducted | 201835849 | No | No | MUZ-GL09NA-U8 | MSZ-GL09NA-U1 | 15.4 | 24.6 | 12.8 | 9000 | 10900 | 7000 | [6 empty] | No
Non-Ducted | 201754310 | No | No | MUZ-GL12NAH-U1 | MSZ-GL12NA-U1 | 13 | 23.1 | 11.5 | 12000 | 14400 | 9200 | [6 empty] | No
Non-Ducted | 201754311 | Yes | No | MUZ-GL12NA-U1 | MSZ-GL12NA-U1 | 13 | 23.1 | 12.5 | 12000 | 14400 | 9200 | 150 | 1000 | 1600 |  |  |  | Yes | 150
Non-Ducted | 201754312 | No | No | MUZ-GL15NAH-U1 | MSZ-GL15NA-U1 | 13 | 21.6 | 10.8 | 14000 | 18000 | 12100 | [6 empty] | No
Non-Ducted | 201754313 | Yes | No | MUZ-GL15NA-U1 | MSZ-GL15NA-U1 | 13 | 21.6 | 11.7 | 14000 | 18000 | 12100 | 150 | 1000 | 1600 |  |  |  | No | 75
Non-Ducted | 201754314 | No | No | MUZ-GL18NAH-U1 | MSZ-GL18NA-U1 | 13.4 | 20.5 | 10.2 | 18000 | 21600 | 13800 | [6 empty] | No
Non-Ducted | 201754315 | Yes | No | MUZ-GL18NA-U1 | MSZ-GL18NA-U1 | 13.4 | 20.5 | 11.2 | 18000 | 21600 | 13800 | 150 | 1000 | 1600 |  |  |  | Yes | 75
Non-Ducted | 201755029 | No | No | MUZ-GL24NAH*** | MSZ-GL24NA*** | 12.5 | 20.5 | 10 | 22400 | 27600 | 16000 | [6 empty] | No
Non-Ducted | 201754316 | Yes | No | MUZ-GL24NA-U1 | MSZ-GL24NA-U1 | 12.5 | 20.5 | 10 | 22400 | 27600 | 16000 | 150 | 1000 | 1600 |  |  |  | Yes | 75
Non-Ducted | 202490340 | No | No | MUZ-GL24NA-U2 | MSZ-GL24NA-U1 | 12.5 | 20.5 | 10 | 22400 | 27600 | 16000 | [6 empty] | No
Non-Ducted | 201754644 | No | No | MUZ-HM09NA2*** | MSZ-HM09NA*** | 12 | 18 | 8.5 | 9000 | 10900 | 6700 | [6 empty] | No
Non-Ducted | 201754645 | No | No | MUZ-HM09NA-U1 | MSZ-HM09NA-U1 | 12 | 18 | 10 | 9000 | 10900 | 6700 | [6 empty] | No
Non-Ducted | 201754430 | No | No | MUZ-HM12NA2*** | MSZ-HM12NA*** | 9.9 | 18 | 8.5 | 12000 | 12200 | 7600 | [6 empty] | No
Non-Ducted | 201754431 | No | No | MUZ-HM12NA-U1 | MSZ-HM12NA-U1 | 9.9 | 18 | 10 | 12000 | 12200 | 7600 | [6 empty] | No
Non-Ducted | 201754433 | No | No | MUZ-HM15NA2*** | MSZ-HM15NA*** | 12 | 18 | 8.5 | 14000 | 18000 | 11500 | [6 empty] | No
Non-Ducted | 201754434 | No | No | MUZ-HM15NA-U1 | MSZ-HM15NA-U1 | 12 | 18 | 10 | 14000 | 18000 | 11500 | [6 empty] | No
Non-Ducted | 201754435 | No | No | MUZ-HM18NA2*** | MSZ-HM18NA*** | 10.5 | 18 | 8.5 | 17200 | 18000 | 11500 | [6 empty] | No
Non-Ducted | 201754436 | No | No | MUZ-HM18NA-U1 | MSZ-HM18NA-U1 | 10.5 | 18 | 10 | 17200 | 18000 | 11500 | [6 empty] | No
Non-Ducted | 201849505 | No | No | MUZ-HM24NA*** | MSZ-HM24NA-U1 | 8.6 | 18 | 10 | 22400 | 26000 | 18500 | [6 empty] | No
Non-Ducted | 201754437 | No | No | MUZ-HM24NA2*** | MSZ-HM24NA*** | 8.6 | 18 | 8.5 | 22400 | 26000 | 18500 | [6 empty] | No
Non-Ducted | 202397881 | No | No | MUZ-JP09WA-U1 | MSZ-JP09WA-U1 | 12 | 17 | 9 | 9000 | 10900 | 6700 | [6 empty] | No
Non-Ducted | 202397882 | No | No | MUZ-JP12WA-U1 | MSZ-JP12WA-U1 | 9.9 | 17 | 9 | 12000 | 12200 | 7600 | [6 empty] | No
Non-Ducted | 202397877 | No | No | MUZ-WR09NA-U1 | MSZ-WR09NA-U1 | 11 | 16 | 8.5 | 9000 | 10900 | 6700 | [6 empty] | No
Non-Ducted | 202397878 | No | No | MUZ-WR12NA-U1 | MSZ-WR12NA-U1 | 9 | 16 | 8.5 | 12000 | 12200 | 7600 | [6 empty] | No
Non-Ducted | 202397879 | No | No | MUZ-WR18NA-U1 | MSZ-WR18NA-U1 | 10 | 16 | 8.5 | 17200 | 18000 | 11500 | [6 empty] | No
Non-Ducted | 202397880 | No | No | MUZ-WR24NA-U1 | MSZ-WR24NA-U1 | 8 | 16 | 8.5 | 22400 | 26000 | 18500 | [6 empty] | No
Non-Ducted | 201754642 | Yes | No | MXZ-2C20NA2 | Non-Ducted | 12.7 | 20 | 10 | 18000 | 22000 | 13500 | 150 | 1000 | 1600 |  |  |  | Yes | 75
Ducted | 201754643 | No | No | MXZ-2C20NA2 | Ducted | 10 | 16 | 9.3 | 20000 | 22000 | 12500 | 350 |  | 1000 |  |  |  | No
Mixed | 201755013 | No | No | MXZ-2C20NA2 | Mixed | 11.35 | 18 | 9.65 | 19000 | 22000 | 13000 | 350 |  | 1000 |  |  |  | No
Ducted | 201754900 | No | No | MXZ-2C20NAHZ2 | Ducted | 11 | 15 | 9.5 | 20000 | 22000 | 13700 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754925 | No | No | MXZ-2C20NAHZ2 | Non-Ducted | 13.5 | 17 | 9.8 | 18000 | 22000 | 13700 | [6 empty] | No
Mixed | 201755014 | No | No | MXZ-2C20NAHZ2 | Mixed | 12.25 | 16 | 9.65 | 19000 | 22000 | 13700 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754902 | No | No | MXZ-3C24NA2 | Non-Ducted | 13.6 | 20 | 9.8 | 22000 | 25000 | 14000 | [6 empty] | No
Ducted | 201754903 | No | No | MXZ-3C24NA2 | Ducted | 11.2 | 16 | 9.2 | 23600 | 24600 | 14000 | 350 |  | 1000 |  |  |  | No
Mixed | 201755015 | No | No | MXZ-3C24NA2 | Mixed | 12.4 | 18 | 9.5 | 22800 | 24800 | 14000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754904 | Yes | Yes | MXZ-3C24NAHZ2 | Non-Ducted | 13.5 | 19 | 10 | 22000 | 25000 | 14000 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes
Ducted | 201754906 | No | No | MXZ-3C24NAHZ2 | Ducted | 10 | 15.5 | 9 | 23600 | 24600 | 14000 | 350 |  | 1000 |  |  |  | No
Mixed | 201755016 | No | No | MXZ-3C24NAHZ2 | Mixed | 11.75 | 17.25 | 9.5 | 22800 | 24800 | 14000 | 350 |  | 1000 |  |  |  | No
Ducted | 201754907 | No | No | MXZ-3C30NA2 | Ducted | 9.6 | 16.2 | 9.6 | 27400 | 27600 | 15100 | 350 |  | 1000 |  |  |  | No
Mixed | 201755017 | No | No | MXZ-3C30NA2 | Mixed | 10.1 | 17.6 | 10.1 | 27800 | 28000 | 15550 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201755942 | No | No | MXZ-3C30NA2 | Non-Ducted | 10.6 | 19 | 10.6 | 28400 | 28600 | 16000 | [6 empty] | No
Non-Ducted | 201754908 | Yes | Yes | MXZ-3C30NAHZ2 | Non-Ducted | 12.5 | 18 | 11 | 28400 | 28600 | 18000 | 150 | 1000 | 1600 | 500 | 750 | 1000 | No
Ducted | 201754909 | No | No | MXZ-3C30NAHZ2 | Ducted | 10.3 | 16 | 9.8 | 27400 | 27600 | 16500 | 350 |  | 1000 |  |  |  | No
Mixed | 201755018 | No | No | MXZ-3C30NAHZ2 | Mixed | 11.4 | 17 | 10.4 | 27800 | 28000 | 17250 | 350 |  | 1000 |  |  |  | No
Ducted | 201754910 | No | No | MXZ-4C36NA2 | Ducted | 8.7 | 16 | 9.8 | 34400 | 34400 | 20200 | 350 |  | 1000 |  |  |  | No
Mixed | 201755019 | No | No | MXZ-4C36NA2 | Mixed | 9.05 | 17.6 | 10.4 | 34800 | 35200 | 21200 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201755943 | No | No | MXZ-4C36NA2 | Non-Ducted | 9.4 | 19.2 | 11 | 35400 | 36000 | 22200 | [6 empty] | No
Non-Ducted | 201754911 | Yes | Yes | MXZ-4C36NAHZ | Non-Ducted | 14 | 19.1 | 11.3 | 36000 | 45000 | 34000 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes
Ducted | 201754912 | No | No | MXZ-4C36NAHZ | Ducted | 11.3 | 15.8 | 10.1 | 36000 | 45000 | 36000 | 350 |  | 1000 |  |  |  | No
Mixed | 201755020 | Yes | Yes | MXZ-4C36NAHZ | Mixed | 12.65 | 17.45 | 10.7 | 36000 | 45000 | 35000 | 350 |  | 1000 | 500 | 750 | 1000 | Yes
Non-Ducted | 201754913 | No | No | MXZ-5C42NA2 | Non-Ducted | 9.2 | 19.7 | 10.3 | 40500 | 45000 | 24400 | [6 empty] | No
Ducted | 201754914 | No | No | MXZ-5C42NA2 | Ducted | 9 | 15.2 | 9.1 | 37400 | 41000 | 23000 | 350 |  | 1000 |  |  |  | No
Mixed | 201755021 | No | No | MXZ-5C42NA2 | Mixed | 9.1 | 17.45 | 9.7 | 38500 | 43000 | 23700 | 350 |  | 1000 |  |  |  | No
Ducted | 201754441 | No | No | MXZ-5C42NAHZ | Ducted | 10.8 | 15 | 10.1 | 42000 | 48000 | 36600 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754926 | Yes | Yes | MXZ-5C42NAHZ | Non-Ducted | 13.4 | 19 | 11 | 42000 | 48000 | 35800 | 150 | 1000 | 1600 | 500 | 750 | 1000 | Yes
Mixed | 201755022 | No | No | MXZ-5C42NAHZ | Mixed | 12.1 | 17 | 10.55 | 42000 | 48000 | 36200 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754442 | No | No | MXZ-8C48NA | Non-Ducted | 12 | 18.9 | 11.4 | 48000 | 54000 | 33000 | [6 empty] | No
Ducted | 201754443 | No | No | MXZ-8C48NA | Ducted | 9.5 | 14.7 | 10.1 | 48000 | 54000 | 35000 | [6 empty] | No
Mixed | 201755023 | No | No | MXZ-8C48NA | Mixed | 10.75 | 16.8 | 10.75 | 48000 | 54000 | 34000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754635 | No | No | MXZ-8C48NAHZ | Non-Ducted | 12 | 18.9 | 11 | 48000 | 54000 | 40000 | [6 empty] | No
Ducted | 201754636 | No | No | MXZ-8C48NAHZ | Ducted | 9.5 | 14.7 | 10 | 48000 | 54000 | 43000 | [6 empty] | No
Mixed | 201755024 | No | No | MXZ-8C48NAHZ | Mixed | 10.75 | 16.8 | 10.5 | 48000 | 54000 | 41500 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754637 | Yes | No | MXZ-8C60NA-U* | Non-Ducted | 12.5 | 17.4 | 10.5 | 60000 | 65000 | 41500 | 150 | 1000 | 1600 |  |  |  | Yes
Ducted | 201754638 | No | No | MXZ-8C60NA-U* | Ducted | 9.6 | 15.1 | 10 | 60000 | 65000 | 40500 | 350 |  | 1000 |  |  |  | No
Mixed | 201755025 | No | No | MXZ-8C60NA-U* | Mixed | 11.05 | 16.25 | 10.25 | 60000 | 65000 | 41000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202412085 | No | No | PUMY-HP36NKMU | Non-Ducted | 15 | 22.3 | 12 | 36000 | 42000 | 33000 | [6 empty] | No
Ducted | 202423533 | No | No | PUMY-HP36NKMU | Ducted | 12.6 | 18.3 | 11.7 | 36000 | 42000 | 32000 | 350 |  | 1000 |  |  |  | No
Mixed | 202426335 | No | No | PUMY-HP36NKMU | Mixed | 13.8 | 20.3 | 11.85 | 36000 | 42000 | 32500 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202412088 | No | No | PUMY-HP48NKMU | Non-Ducted | 13.1 | 22.6 | 12 | 48000 | 54000 | 39000 | [6 empty] | No
Ducted | 202423535 | No | No | PUMY-HP48NKMU | Ducted | 11.3 | 16.5 | 11 | 48000 | 54000 | 42000 | 350 |  | 1000 |  |  |  | No
Mixed | 202426336 | No | No | PUMY-HP48NKMU | Mixed | 12.2 | 19.55 | 11.5 | 48000 | 54000 | 40500 | 350 |  | 1000 |  |  |  | No
Ducted | 201754444 | Yes | No | PUMY-P36NKMU* | Ducted | 12.6 | 15.6 | 10.5 | 36000 | 42000 | 26600 | 350 |  | 1000 |  |  |  | Yes
Non-Ducted | 201754445 | Yes | No | PUMY-P36NKMU* | Non-Ducted | 14.2 | 21 | 11.5 | 36000 | 42000 | 26400 | 150 | 1000 | 1600 |  |  |  | Yes | 75
Mixed | 201755026 | Yes | No | PUMY-P36NKMU* | Mixed | 13.4 | 18.3 | 11 | 36000 | 42000 | 26500 | 350 |  | 1000 |  |  |  | Yes
Non-Ducted | 202412084 | No | No | PUMY-P36NKMU2 | Non-Ducted | 15 | 22.3 | 12 | 36000 | 42000 | 26400 | [6 empty] | No
Ducted | 202423532 | No | No | PUMY-P36NKMU2 | Ducted | 12.6 | 18.3 | 11.2 | 36000 | 42000 | 26600 | 350 |  | 1000 |  |  |  | No
Mixed | 202426337 | No | No | PUMY-P36NKMU2 | Mixed | 13.8 | 20.3 | 11.6 | 36000 | 42000 | 26500 | 350 |  | 1000 |  |  |  | No
Ducted | 201754446 | No | No | PUMY-P48NKMU* | Ducted | 11.3 | 16.5 | 11 | 48000 | 54000 | 35000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754447 | Yes | No | PUMY-P48NKMU* | Non-Ducted | 12.6 | 20.2 | 11.7 | 48000 | 54000 | 31400 | 150 | 1000 | 1600 |  |  |  | Yes | 75
Mixed | 201755027 | No | No | PUMY-P48NKMU* | Mixed | 11.95 | 18.35 | 11.35 | 48000 | 54000 | 33200 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202412087 | No | No | PUMY-P48NKMU2 | Non-Ducted | 13.1 | 22.6 | 12 | 48000 | 54000 | 31400 | [6 empty] | No
Ducted | 202423534 | No | No | PUMY-P48NKMU2 | Ducted | 11.3 | 16.5 | 11 | 48000 | 54000 | 35000 | 350 |  | 1000 |  |  |  | No
Mixed | 202426338 | No | No | PUMY-P48NKMU2 | Mixed | 12.2 | 19.55 | 11.5 | 48000 | 54000 | 33200 | 350 |  | 1000 |  |  |  | No
Ducted | 201754639 | No | No | PUMY-P60NKMU* | Ducted | 11.1 | 17 | 10.7 | 60000 | 65000 | 40500 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754640 | Yes | No | PUMY-P60NKMU* | Non-Ducted | 12.5 | 18.6 | 11.4 | 60000 | 65000 | 41500 | 150 | 1000 | 1600 |  |  |  | Yes
Mixed | 201755028 | No | No | PUMY-P60NKMU* | Mixed | 11.8 | 17.8 | 11.05 | 60000 | 65000 | 41000 | 350 |  | 1000 |  |  |  | No
Ducted | 202411913 | No | No | PUMY-P60NKMU2 | Ducted | 11.1 | 17.8 | 10.7 | 60000 | 66000 | 40500 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202412089 | No | No | PUMY-P60NKMU2 | Non-Ducted | 13.3 | 20 | 12 | 60000 | 66000 | 41500 | [6 empty] | No
Mixed | 202426339 | No | No | PUMY-P60NKMU2 | Mixed | 12.2 | 18.9 | 11.35 | 60000 | 66000 | 41000 | 350 |  | 1000 |  |  |  | No
Ducted | 201754448 | No | No | PUZ-A12NKA7*** | PEAD-A12AA* | 13 | 21.1 | 10.2 | 12000 | 14000 | 8700 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754449 | No | No | PUZ-A12NKA7*** | PKA-A12HA* | 12 | 20.8 | 10.2 | 12000 | 14000 | 9200 | [6 empty] | No
Non-Ducted | 201754450 | No | No | PUZ-A12NKA7*** | PLA-A12EA* | 16.4 | 27 | 12.8 | 12000 | 14000 | 10100 | [6 empty] | No
Ducted | 201754543 | No | No | PUZ-A12NKA7*** | PVA-A12AA* | 13.4 | 21.4 | 10.3 | 12000 | 14000 | 9900 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754317 | No | No | PUZ-A18NKA7*** | PLA-A18EA* | 14.4 | 24.6 | 11 | 18000 | 19000 | 11000 | [6 empty] | No
Ducted | 201754454 | No | No | PUZ-A18NKA7*** | PEAD-A18AA* | 10.8 | 19.9 | 10.2 | 18000 | 19000 | 11000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754455 | No | No | PUZ-A18NKA7*** | PKA-A18HA* | 9.9 | 18.5 | 10.2 | 18000 | 19000 | 11300 | [6 empty] | No
Ducted | 201754544 | No | No | PUZ-A18NKA7*** | PVA-A18AA* | 11.4 | 20.2 | 10.4 | 18000 | 19000 | 12000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754318 | Yes | No | PUZ-A24NHA7*** | PLA-A24EA* | 14.3 | 24.2 | 11.2 | 24000 | 26000 | 14900 | 150 | 1000 | 1600 |  |  |  | Yes | 75
Non-Ducted | 201754460 | No | No | PUZ-A24NHA7*** | PCA-A24KA* | 12.2 | 21.2 | 10.8 | 24000 | 26000 | 15400 | [6 empty] | No
Ducted | 201754461 | No | No | PUZ-A24NHA7*** | PEAD-A24AA* | 11.7 | 19.6 | 10.8 | 24000 | 26000 | 14800 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754462 | No | No | PUZ-A24NHA7*** | PKA-A24KA* | 12.2 | 21.4 | 11 | 24000 | 26000 | 15700 | [6 empty] | No
Ducted | 201754463 | No | No | PUZ-A24NHA7*** | PVA-A24AA* | 12.2 | 20.5 | 9.3 | 24000 | 26000 | 15000 | 350 |  | 1000 |  |  |  | No
Ducted | 201754468 | No | No | PUZ-A30NHA7*** | PEAD-A30AA* | 10 | 19.1 | 10.8 | 30000 | 32000 | 18500 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754469 | No | No | PUZ-A30NHA7*** | PKA-A30KA* | 9.5 | 19.8 | 9.9 | 30000 | 32000 | 18300 | [6 empty] | No
Non-Ducted | 201754470 | No | No | PUZ-A30NHA7*** | PLA-A30EA* | 11.8 | 22.8 | 11.6 | 30000 | 32000 | 18100 | [6 empty] | No
Non-Ducted | 201754545 | No | No | PUZ-A30NHA7*** | PCA-A30KA* | 9.4 | 19.6 | 10 | 30000 | 32000 | 18800 | [6 empty] | No
Ducted | 201754546 | No | No | PUZ-A30NHA7*** | PVA-A30AA* | 10 | 19 | 10 | 30000 | 32000 | 18000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754319 | Yes | No | PUZ-A36NKA7*** | PLA-A36EA* | 12.9 | 21.8 | 10.4 | 36000 | 38000 | 22000 | 150 | 1000 | 1600 |  |  |  | Yes | 75
Non-Ducted | 201754474 | No | No | PUZ-A36NKA7*** | PCA-A36KA* | 11 | 19.1 | 10.2 | 36000 | 38000 | 21000 | [6 empty] | No
Ducted | 201754475 | No | No | PUZ-A36NKA7*** | PEAD-A36AA* | 12 | 19.1 | 9.9 | 36000 | 38000 | 20800 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754476 | No | No | PUZ-A36NKA7*** | PKA-A36KA* | 10.8 | 18.8 | 9.2 | 36000 | 38000 | 22400 | [6 empty] | No
Ducted | 201754547 | No | No | PUZ-A36NKA7*** | PVA-A36AA* | 9.8 | 19.3 | 9.5 | 36000 | 38000 | 24000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754480 | No | No | PUZ-A42NKA7*** | PCA-A42KA* | 10.2 | 17.6 | 10.2 | 42000 | 45000 | 31800 | [6 empty] | No
Ducted | 201754481 | No | No | PUZ-A42NKA7*** | PEAD-A42AA* | 10.7 | 16.1 | 10 | 42000 | 45000 | 30600 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754482 | No | No | PUZ-A42NKA7*** | PLA-A42EA* | 11.6 | 21 | 10 | 42000 | 45000 | 28000 | [6 empty] | No
Ducted | 201754483 | No | No | PUZ-A42NKA7*** | PVA-A42AA* | 10.1 | 18 | 9.3 | 42000 | 46000 | 28400 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754320 | No | No | PUZ-HA30NHA5 | PLA-A30EA* | 12.5 | 15.6 | 9.4 | 30000 | 32000 | 19000 | [6 empty] | No
Non-Ducted | 201754484 | No | No | PUZ-HA30NHA5 | PCA-A30KA* | 12.1 | 16.1 | 9.3 | 30000 | 32000 | 19000 | [6 empty] | No
Ducted | 201754485 | No | No | PUZ-HA30NHA5 | PEAD-A30AA* | 12.5 | 16.5 | 9.5 | 27000 | 32000 | 19000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754486 | No | No | PUZ-HA30NHA5 | PLA-A30BA* | 12.5 | 15.6 | 9.4 | 28400 | 32000 | 19000 | [6 empty] | No
Ducted | 201754487 | No | No | PUZ-HA30NHA5 | PVA-A30AA* | 12.5 | 17 | 9.7 | 28400 | 32000 | 22600 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754548 | No | No | PUZ-HA30NHA5 | PKA-A30KA* | 12 | 16.5 | 9.5 | 30000 | 32000 | 19000 | [6 empty] | No
Non-Ducted | 201754321 | No | No | PUZ-HA36NHA5 | PLA-A36EA* | 12.6 | 17 | 10 | 36000 | 38000 | 28000 | [6 empty] | No
Ducted | 201754322 | Yes | Yes | PUZ-HA36NHA5 | PEAD-A36AA* | 12.5 | 16.8 | 10.4 | 33000 | 38000 | 27000 | 350 |  | 1000 | 500 | 750 | 1000 | No
Ducted | 201754323 | Yes | Yes | PUZ-HA36NHA5 | PVA-A36AA* | 12.5 | 17.8 | 11 | 33000 | 38000 | 29000 | 350 |  | 1000 | 500 | 750 | 1000 | No
Non-Ducted | 201754488 | No | No | PUZ-HA36NHA5 | PCA-A36KA* | 12.1 | 16.6 | 10.3 | 34000 | 38000 | 27000 | [6 empty] | No
Non-Ducted | 201754489 | No | No | PUZ-HA36NHA5 | PKA-A36KA* | 12 | 16.2 | 10 | 33400 | 38000 | 25000 | [6 empty] | No
Non-Ducted | 201754490 | Yes | Yes | PUZ-HA36NHA5 | PLA-A36BA* | 12.6 | 17 | 10 | 34000 | 38000 | 28000 | 150 | 1000 | 1600 | 500 | 750 | 1000 | No
Non-Ducted | 201754491 | No | No | PUZ-HA42NKA | PCA-A42KA* | 10 | 14.5 | 10.4 | 42000 | 48000 | 44000 | [6 empty] | No
Ducted | 201754492 | No | No | PUZ-HA42NKA | PEAD-A42AA* | 10 | 14.3 | 10.8 | 42000 | 48000 | 43000 | [6 empty] | No
Non-Ducted | 201754494 | No | No | PUZ-HA42NKA | PLA-A42EA* | 10.1 | 14.8 | 10 | 42000 | 48000 | 44000 | [6 empty] | No
Ducted | 201754495 | No | No | PUZ-HA42NKA | PVA-A42AA* | 9.8 | 15.3 | 11 | 42000 | 48000 | 42000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754549 | No | No | PUZ-HA42NKA | PCA-A42KA5 | 10 | 14.5 | 10.4 | 42000 | 48000 | 44000 | [6 empty] | No
Ducted | 201754550 | No | No | SUZ-KA09NA | SEZ-KD09NA | 12 | 15 | 10 | 8100 | 10900 | 6700 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754551 | No | No | SUZ-KA09NA | SLZ-KA09NA | 12 | 15 | 9.6 | 8400 | 10900 | 6200 | [6 empty] | No
Ducted | 201810889 | No | No | SUZ-KA09NA | PEAD-A09AA* | 12.5 | 19.4 | 11.5 | 9000 | 11400 | 6400 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392018 | No | No | SUZ-KA09NA2 | MLZ-KP09NA | 12.6 | 19.5 | 13.3 | 9000 | 12000 | 7700 | [6 empty] | No
Non-Ducted | 202392021 | No | No | SUZ-KA09NA2 | SLZ-KF09NA | 13.4 | 22.4 | 12.2 | 9000 | 11000 | 6900 | [6 empty] | No
Ducted | 202392027 | No | No | SUZ-KA09NA2 | SEZ-KD09NA | 12.8 | 18.8 | 11 | 9000 | 12000 | 7600 | 350 |  | 1000 |  |  |  | No
Ducted | 202392038 | No | No | SUZ-KA09NA2 | PEAD-A09AA | 12.5 | 19.7 | 12.6 | 9000 | 12000 | 7600 | 350 |  | 1000 |  |  |  | No
Ducted | 202392031 | No | No | SUZ-KA09NAH2 | SEZ-KD09NA | 12.8 | 18.8 | 10.4 | 9000 | 12000 | 7600 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392035 | No | No | SUZ-KA09NAH2 | MLZ-KP09NA | 12.6 | 19.5 | 12.5 | 9000 | 12000 | 7700 | [6 empty] | No
Ducted | 202392044 | No | No | SUZ-KA09NAH2 | PEAD-A09AA | 12.5 | 19.7 | 11.9 | 9000 | 12000 | 7600 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392050 | No | No | SUZ-KA09NAH2 | SLZ-KF09NA | 13.4 | 22.4 | 11.5 | 9000 | 11000 | 6900 | [6 empty] | No
Ducted | 201754324 | Yes | No | SUZ-KA12NA | SEZ-KD12NA | 12.5 | 16 | 10 | 11500 | 13600 | 9000 | 350 |  | 1000 |  |  |  | Yes
Non-Ducted | 201754496 | No | No | SUZ-KA12NA | SLZ-KA12NA | 12 | 15.4 | 9.6 | 11100 | 13600 | 8300 | [6 empty] | No
Ducted | 201810884 | No | No | SUZ-KA12NA | PEAD-A12AA* | 12.6 | 18.6 | 10.9 | 12000 | 16300 | 8200 | 350 |  | 1000 |  |  |  | No
Ducted | 201810887 | No | No | SUZ-KA12NA | SVZ-KP12NA | 12.5 | 17 | 10 | 12000 | 13500 | 8800 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392019 | No | No | SUZ-KA12NA2 | MLZ-KP12NA | 12.5 | 19.8 | 12.1 | 12000 | 15400 | 9900 | [6 empty] | No
Non-Ducted | 202392022 | No | No | SUZ-KA12NA2 | SLZ-KF12NA | 13.3 | 22 | 11.4 | 12000 | 13000 | 8900 | [6 empty] | No
Ducted | 202392028 | No | No | SUZ-KA12NA2 | SEZ-KD12NA | 12.9 | 20.5 | 12.4 | 12000 | 15000 | 10000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392053 | No | No | SUZ-KA12NA2 | SVZ-KP12NA | 12.7 | 18 | 12.1 | 12000 | 15000 | 9900 | 350 |  | 1000 |  |  |  | No
Ducted | 202392060 | No | No | SUZ-KA12NA2 | PEAD-A12AA | 12.9 | 20.5 | 13 | 12000 | 15000 | 9900 | 350 |  | 1000 |  |  |  | No
Ducted | 202392032 | No | No | SUZ-KA12NAH2 | SEZ-KD12NA | 12.9 | 20.5 | 11.8 | 12000 | 15000 | 10000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392036 | No | No | SUZ-KA12NAH2 | MLZ-KP12NA | 12.5 | 19.8 | 11.6 | 12000 | 15400 | 9900 | [6 empty] | No
Non-Ducted | 202392051 | No | No | SUZ-KA12NAH2 | SLZ-KF12NA | 13.3 | 22 | 10.9 | 12000 | 13000 | 8900 | [6 empty] | No
Ducted | 202392055 | No | No | SUZ-KA12NAH2 | SVZ-KP12NA | 12.7 | 18 | 11.5 | 12000 | 15000 | 9900 | 350 |  | 1000 |  |  |  | No
Ducted | 202392061 | No | No | SUZ-KA12NAH2 | PEAD-A12AA | 12.9 | 20.5 | 12.4 | 12000 | 15000 | 9900 | 350 |  | 1000 |  |  |  | No
Ducted | 201754497 | No | No | SUZ-KA15NA | SEZ-KD15NA | 12 | 15.5 | 10 | 14100 | 18000 | 11900 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 201754498 | No | No | SUZ-KA15NA | SLZ-KA15NA | 10.2 | 16 | 9.6 | 15000 | 18000 | 12000 | [6 empty] | No
Ducted | 201810885 | No | No | SUZ-KA15NA | PEAD-A15AA* | 12.5 | 18.6 | 12.1 | 15000 | 21000 | 13800 | 350 |  | 1000 |  |  |  | No
Ducted | 202392029 | No | No | SUZ-KA15NA2 | SEZ-KD15NA | 13 | 19 | 11.4 | 15000 | 18000 | 11700 | 350 |  | 1000 |  |  |  | No
Ducted | 202392039 | No | No | SUZ-KA15NA2 | PEAD-A15AA | 13 | 19.2 | 11.6 | 15000 | 18000 | 11300 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392062 | No | No | SUZ-KA15NA2 | SLZ-KF15NA | 12.2 | 19.8 | 11.2 | 14100 | 18000 | 11900 | [6 empty] | No
Ducted | 202392033 | No | No | SUZ-KA15NAH2 | SEZ-KD15NA | 13 | 19 | 11 | 15000 | 18000 | 11700 | 350 |  | 1000 |  |  |  | No
Ducted | 202392045 | No | No | SUZ-KA15NAH2 | PEAD-A15AA | 13 | 19.2 | 11.2 | 15000 | 18000 | 11300 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392063 | No | No | SUZ-KA15NAH2 | SLZ-KF15NA | 12.2 | 19.8 | 10.9 | 14100 | 18000 | 11900 | [6 empty] | No
Ducted | 201754325 | Yes | No | SUZ-KA18NA | SEZ-KD18NA | 12.5 | 17.5 | 10 | 17200 | 21600 | 13100 | 350 |  | 1000 |  |  |  | Yes
Ducted | 201810886 | No | No | SUZ-KA18NA | PEAD-A18AA* | 12.5 | 18.8 | 11.5 | 18000 | 24600 | 1400 | 350 |  | 1000 |  |  |  | No
Ducted | 201810888 | No | No | SUZ-KA18NA | SVZ-KP18NA | 12.5 | 17.6 | 10.4 | 18000 | 22800 | 11600 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392020 | No | No | SUZ-KA18NA2 | MLZ-KP18NA | 12.5 | 22.3 | 12.4 | 18000 | 20000 | 13100 | [6 empty] | No
Non-Ducted | 202392023 | No | No | SUZ-KA18NA2 | SLZ-KF18NA | 12.5 | 20.7 | 11.6 | 17700 | 19700 | 12900 | [6 empty] | No
Ducted | 202392030 | No | No | SUZ-KA18NA2 | SEZ-KD18NA | 13.7 | 22 | 13.1 | 18000 | 21600 | 13900 | 350 |  | 1000 |  |  |  | No
Ducted | 202392040 | No | No | SUZ-KA18NA2 | PEAD-A18AA | 14.1 | 19.8 | 12.9 | 18000 | 21600 | 14000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392054 | No | No | SUZ-KA18NA2 | SVZ-KP18NA | 13.2 | 18 | 12.6 | 18000 | 21600 | 14000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392034 | No | No | SUZ-KA18NAH2 | SEZ-KD18NA | 13.7 | 22 | 12.8 | 18000 | 21600 | 13900 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392037 | No | No | SUZ-KA18NAH2 | MLZ-KP18NA | 12.5 | 22.3 | 12 | 18000 | 20000 | 13100 | [6 empty] | No
Ducted | 202392046 | No | No | SUZ-KA18NAH2 | PEAD-A18AA | 14.1 | 19.8 | 12.5 | 18000 | 21600 | 14000 | 350 |  | 1000 |  |  |  | No
Non-Ducted | 202392052 | No | No | SUZ-KA18NAH2 | SLZ-KF18NA | 12.5 | 20.7 | 11.3 | 17700 | 19700 | 12900 | [6 empty] | No
Ducted | 202392056 | No | No | SUZ-KA18NAH2 | SVZ-KP18NA | 13.2 | 18 | 12.2 | 18000 | 21600 | 14000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392024 | No | No | SUZ-KA24NA2 | SVZ-KP24NA | 12.5 | 18 | 10.4 | 24000 | 25000 | 14600 | 350 |  | 1000 |  |  |  | No
Ducted | 202392041 | No | No | SUZ-KA24NA2 | PEAD-A24AA | 12.5 | 18 | 11.2 | 24000 | 25000 | 15000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392047 | No | No | SUZ-KA24NAH2 | PEAD-A24AA | 12.5 | 18 | 11 | 24000 | 25000 | 15000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392057 | No | No | SUZ-KA24NAH2 | SVZ-KP24NA | 12.5 | 18 | 10.1 | 24000 | 25000 | 14600 | 350 |  | 1000 |  |  |  | No
Ducted | 202392025 | No | No | SUZ-KA30NA2 | SVZ-KP30NA | 12.5 | 18 | 13.6 | 27000 | 30000 | 21400 | 350 |  | 1000 |  |  |  | No
Ducted | 202392042 | No | No | SUZ-KA30NA2 | PEAD-A30AA | 12.5 | 18 | 12.6 | 27000 | 30000 | 22400 | 350 |  | 1000 |  |  |  | No
Ducted | 202392048 | No | No | SUZ-KA30NAH2 | PEAD-A30AA | 12.5 | 18 | 12.4 | 27000 | 30000 | 22400 | 350 |  | 1000 |  |  |  | No
Ducted | 202392058 | No | No | SUZ-KA30NAH2 | SVZ-KP30NA | 12.5 | 18 | 13.4 | 27000 | 30000 | 21400 | 350 |  | 1000 |  |  |  | No
Ducted | 202392026 | No | No | SUZ-KA36NA2 | SVZ-KP36NA | 8.8 | 16 | 11.7 | 33000 | 33400 | 23200 | 350 |  | 1000 |  |  |  | No
Ducted | 202392043 | No | No | SUZ-KA36NA2 | PEAD-A36AA | 9.4 | 16 | 11.6 | 33000 | 33400 | 23000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392049 | No | No | SUZ-KA36NAH2 | PEAD-A36AA | 9.4 | 16 | 11.5 | 33000 | 33400 | 23000 | 350 |  | 1000 |  |  |  | No
Ducted | 202392059 | No | No | SUZ-KA36NAH2 | SVZ-KP36NA | 8.8 | 16 | 11.6 | 33000 | 33400 | 23200 | 350 |  | 1000 |  |  |  | No